## Slide 1: Op Amp Specs and Test Benches

## Slide 8
For simulation: book

## Slide 9
For measurement: book

## Slide 10
Low gain sim and meas

## Slide 11
Sim and meas for low gain

## Slide 12
Figure 6.6-5 Configuration for simulating the common-mode gain.

## Slide 13
Figure 6.6-6 Circuit used to measure CMMR and PSRR.

## Slide 14
Figure 6.6-7 (a) Configuration for the direct simulation of CMRR. (b) Model for (a).

## Slide 15
Figure 6.6-9 (a) Configuration for the direct simulation or measurement of PSRR.
(b) Model of (a) with VSS = 0.

## Slide 16
Figure 6.6-10 Measurement of the input common-mode voltage range of an op amp.

## Slide 17
Figure 6.6-12 Measurement of the open-loop output resistance.

## Slide 18
Figure 6.6-13 An alternative method of measuring the open-loop output resistance RO.

## Slide 19
Figure 6.6-14 Measurement of slew rate (SR) and settling time.

## Slide 20
Actual Op Amp
DC specs: Vos, IB1, IB2, Ricm, Rid, Rout, DC gain, DC CMRR, DC PSRR,
DC large signal: input common mode range, output swing range, IDDQ; how these change with DC supply voltage, and with temperature

## Slide 21
AC specs: open-loop AC gain/phase (Bode plot), loop transfer gain/phase with b-network, phase margin, gain margin, AC CMRR, AC PSRR

## Slide 22
Transient specs: settling time, overshoot, slew rate, …

## Slide 23: Testing Op Amps and Comparators
Daryl Hiser PA Op Amp -Test

## Slide 24: Op Amps, Comparators, and Pattern Based Testing……oh my!

## Slide 25: Outline
Basics of testing Op Amps.
  The Loops
  The Tests
Pattern Based Testing.
Basics of testing comparators.
Beware of flying monkeys! (common errors, issues, things to watch for)

## Slide 26: Op Amp Loops
If you can measure Vos well, most of the Op amp test battle is won! PSRR, CMRR, AOL, Drift… are just looking for changes in Vos as some parameter is varied.
We use “test loops” to facilitate measurement and control of op amps during test. The loop gives local gain of the offset measurement.
This presentation will evaluate two useful loop methods: - False Summing Junction - Two Amp Loop

## Slide 27: Eagle Op Amp HIB

## Slide 28
Op Amp test loops
Vos
i = Vos / 1K
100 Vos
(False Summing Junction)
+10V
~ -10V
Offset Correction Factor = ACL + AFS
Vo = -(Vi + Vos(O.C.F))
+ -
+ -

## Slide 30
Op Amp test loops
(False Summing Junction)
+10V
-9.698V
Offset Correction Factor = ACL + ASJ
Vo = -(Vi + Vos(O.C.F))
+ -
+ -
1mV
101mV
+
-
i2 = 98.99µA
i1= 1µA
i3 = 97.99µA
ACL = 200K/1K + 1 = 201
ASJ = 100K/1K + 1 = 101
OCF = 302
+10.302V
102.01µA
101.01µA
-10.0V

## Slide 31
Op Amp test loops
(False Summing Junction)
Pro’s
Simple
Stable
Small (4 tiny surface mount resistors and you can test everything but IB
Con’s
Feedback R is a Load
Loop drive a function of DUT Vos.
The worse the DUT’s DC precision, the more significant loop errors become.

## Slide 32
Op Amp test loops (2 Amp Loop)
Vos
i = Vos / 100
100 Vos
+10V
+10V
Pro’s
No Load Current
Loop drive is independent from DUT Vos
Con’s
More complex
Requires Compensation!!
Type 1
Type 2
101 Vos

## Slide 33: Bode plot for 2 Amp Loop (uncompensated)
Closed loop Gain ACL
(100K/100) +1 = 1001
or ~ 60dB
ACL
40db/decade
closure!
Unstable !!!!!
Combined response Both Amps
Null Amp
DUT

## Slide 34: Type 2 compensation
ACL
20db/decade
closure!
Stable !!!!!
CF = 1 / (20KHz x 100KΩ x 2π) = 80pF
80pF
b=100/(100+100K||80pF)
=0.001(1+s100K80p)
=0.001(1+s/20KHz)

## Slide 35: Type 2 compensation range
ACL
Optimum compensation
Lowest pole frequency
Highest pole frequency

## Slide 36: Bode plot for Type 1 comp.
Closed loop Gain ACL
(100K/100) +1 = 1001
or ~ 60dB
ACL
20db/decade
closure!
Stable !!!!!
Combined response Both Amps
Null Amp (integrator)
DUT
100pF

## Slide 37: Type 1 Compensation Range
ACL
Null Amp(integrator) zero frequency
Intersection of Combined response with Closed loop gain (ACL)
Optimum is intersection / 4

## Slide 38: Optimizing compensation
You can make bode plots to find the best compensation for either method.
…Or You can use TINA spice and evaluate through simulation …
… Or

## Slide 39
Type 1 compensation
Given Rf, Rin, Rc, BW1
Type II compensation
Given Rf, Rin, BW1, BW2:
… use the easy button.

## Slide 40
Op Amp testing basics
Key Parameters Abbr.
Continuity / Contact resistance Cres
Quiescent Current IQ
Input offset voltage VOS
Power Supply Rejection PSRR
Common Mode Rejection CMRR
Open Loop Gain AOL
Short circuit current ISC
Slew Rate SR
Gain Bandwidth GBW
Input Bias current IB
Noise
Total Harmonic Distortion THD

## Slide 41: Continuity ***1 current ***
41
Continuity is measured by sourcing a small current (100uA typ.) through each IO pin through the ESD diodes to the positive supply, and then sinking current through the diodes connected between the IO pins and the negative supply. This verifies all ESD diodes are connected as well as all wire bonds intact and some contact to each pin.
i1 = 100µA
i1 = 100µA

## Slide 42: Contact Resistance ***2 currents***
42
CRES is measured between each supply and the output using 10mA and 15mA currents to get past the diode I/V knee. It is a bulk resistance includes 2 contact resistances and the internal diode resistance.
Cres1 = (Rp1 + Rp2) = [(V1 – V2)/ (I1 – I2) ] – Rd1
Cres2 = (Rp2 + Rp3) = [(V1 – V2)/ (I1 – I2) ] – Rd2
Contact resistance > ~1Ω can be accounted for using this method. If 1Ω or less is a problem for measurements, Kelvin contacts should be used.
Cres3 = (Rp1 + Rp3) = [(V1 – V2)/ (I1 – I2) ] – Rd3
i1 = 10mA i2 = 15mA
Chart: Diode I-V Curve

## Slide 43: Complete Diode Equations
CRES and temperature ***3 currents***
i1 = 5µA i2 = 35µA i3 = 85µA
Temperature accuracy ~ ± 5°C with ESD diode
CRES and
Temperature

## Slide 44: Quiescent current / Integrity / ISC
44
Iq = Iq(meas) – empty socket null
One note of caution…beware of measuring load current by looking at the change from Quiescent current on the DUT supplies.
ibias
iOUT = 1mA
1mA
1mA
1.5mA
0.5mA
Output stage

## Slide 45: Vos / PSRR / CMRR
45
PSRR = ΔVos / ΔVcc (μV/V)
CMRR = ΔVos/ ΔVcm (μV/V)
If (Ib x RF)/100 is significant to Vos it must be considered!
Beware of oscillations… Op Amps “may” rectify low level oscillations because of input clamping diodes and this can appear as an erroneous offset voltage.
± CMV
ΔVcc
ΔVee

## Slide 46: Example of big IB error on Vos measurement
1mV
500nA
1µA
= 150mV /loop gain = 1.5mV
50% error!!!
Smaller resistors reduce error. ie 10K and 100Ω would be 50uV error…
or Measure IB first and use it in Vos calculation.
In this configuration there is a 1µV / nA error on Vos.
The 2 Amp loop with same R values would have the same error!
1.5µA

## Slide 47: CMRR considerations
47
=
=
-4V
0V
4V
0V
Moving supplies and output is equivalent to moving common mode voltage !
Remember that you can not short the inputs of an Op Amp together. Doing so will put it in the rail !!!

## Slide 48: PSRR consideration for rail to rail amps
48
1.5V
0.6V
-0.6V
-0.6V
CMV1
CMV2
CMV2
CMV1
0V
0.9V
-0.9V
2.75 V
-2.75 V
0.9 V
-0.9 V
pMos to nMos transition

## Slide 49: AOL / Swing / Slam
49
Aol = ΔVos / ΔVout (μV/V)

## Slide 50: Swing Aol / Slam considerations
Precision in drive for swing….”just enough”
Compare Vout to supplies…not ground
Remember RF in || with RL in FSJ
AOL Curve

## Slide 51: Slew Rate
2K
Slew of source must be faster than DUT
DUT slew should not be limited by parasitic RC’s
Some Op Amps are specified in unity gain…

## Slide 52: Gain Bandwidth Product
GBP = test frequency * [Vout(rms) / Vos(rms)]
The test frequency should be 2x Unity Gain BW / loop gain

## Slide 53: Bode plot of gain vs frequency
As frequency increases, parasitics may begin to dominate!
The higher bandwidth the greater the challenge!
LG = 100
LG = 1000
Test frequency
Open Loop
Loop 1K
Loop 100

## Slide 54: The dreaded iB test…
“It’s like trying to poke a cat out from under the porch with a rope”
-Unknown-

## Slide 55: Some IB issues and challenges
µA down to fA
Stability
(Thermal EMFs)
Leakages
Humidity
Environmental noise
…

## Slide 56: nanoAmps
IB = ΔV / Loopgain / Rib
for IB greater than ~200pA
Ios = Ib+ - Ib- (math not measure)
Current into the input is “positive” by convention.
identical currents will produce opposite changes in “vos” measurement… Ib+ gets multiplied by -1.

## Slide 57: picoAmps
IB = C dV/dt / Loopgain
for IB 5pA to ~200pA

## Slide 58: femtoAmps ~6 electrons / mSec
-V
+V
for IB < 5pA
***Facilitates nulling of leakage currents on empty socket calibration***
IB = C dV/dt - null

## Slide 59
I = C(dV/dt)
∆V
∆T
Step 1:
Run an open socket leakage test for each amplifier input and store values
Step 2:
Measure bias current of each input
Step 3:
Bias Current = IMEASURED – ILEAKAGE
Leakage
Leakage + IB

## Slide 60: Important considerations for low IB measurements
Low leakage Capacitor ( Teflon, glass, polypropylene polystyrene).
Low thermal EMF cancelled, mechanical latching relays w/ active high drivers.

## Slide 61
Thermal emfs are indistinguishable from Vos
Thermal emf
Vos
Vos + emf
i = (Vos +emf)1K

## Slide 62: Thermal emfs
Thermal emfs inside this ring cause 1:1 errors
Thermal emfs outside this ring are divided by the loop gain!!!

## Slide 63: Back to Low IB Active High vs Active Low drivers
Active High Driver
Active Low Driver
Low thermal EMF cancelled, mechanical latching relays w/ active high drivers.

## Slide 64: Relay Drivers
COIL
12 V
C int
Active High Drive
COIL
12 V
C int
Open Collector
RELAY
RELAY
Ib
Ib

## Slide 65: Relay Drivers
COIL
12 V
C int
Active High Drive
COIL
12 V
C int
Open Collector
RELAY
RELAY
Ib
Ib

## Slide 66: Relay Drivers
COIL
12 V
C int
Active High Drive
COIL
12 V
C int
Open Collector
RELAY
RELAY
Ib
Ib

## Slide 67
Actively High driven Latching relays reduce:
  Leakage (Coil Voltage) during test. (Good for Low IB)
  Heating (Coil current) during test (Good for Low Vos)
  EMI (Coil B field) during test (Good for both)
Exposed guard traces reduce surface leakage!
Relay Drivers
Guard traces / Shielding
Active guarding can further reduce leakage but adds complexity

## Slide 68: Guard traces / Shielding
Exposed Guard traces
High Z trace

## Slide 69: Guard traces / Shielding
Internal Guarding and Shielding (cross section )
grounded guard traces
FR4 material
Ground planes
Protected trace

## Slide 70: “Two for one”
~One integration time -> 2 ib measurements
Ibn = C [(M4 – M1) / T1]
Ibp = C [(M3 – M2) / T2]

## Slide 71: Current Ib Test Investigation
We are designing an octal site board with a different Ib measurement experiment on each site for the purpose of improving our understanding and techniques.
We plan to contact our National counterparts to see if they have any helpful practices or techniques that we could leverage or adopt.
If you have any suggestions or ideas, I would love to hear them!!

## Slide 72: Getting close…

## Slide 73
Pattern Based Testing
What is pattern based testing?
Why bother?
How can you implement it?

## Slide 74: PBT: Overview
Post-process data in DSP memories! Avoid *slow* data transfer!

## Slide 75: Digging a bit deeper for Op Amp Testing
Predefined waveforms are generated.
One circuit configuration is selected that is most suitable for all tests
The output is digitized and stored
Digitized data is analyzed

## Slide 76: Pattern Based Testing: Analysis
Typical Segment
Each test segment is composed of 2 elements:
  Settling time
  Measuring time
Analysis of the raw data will allow for correct time selection
This alone can reduce test times!
Settle
Measure

## Slide 77: Raw data Analysis
Raw data analysis provides many of benefits
The current testing methodology would not show all of the raw data. Only 1 averaged point would be returned.
Debugging and verification can be improved by viewing the raw data!
Slight oscillation on some units. Adjust compensation.
Perfect!

## Slide 78: PBT Benefits
Reduced test time 1.5 seconds to 0.3 seconds
Reduced Test % of COB
More thorough coverage at probe and FT
Where do the time savings come from?

## Slide 79
Quiz
On the Eagle tester, how long does it take 8 QMS’s grouped together to make a measurement if the number of samples is 100 and the sample time is 10uS?
qmsmv( QMS_GP, QMS_PREC, 100, 10 );
Answer: ~ 9mS

## Slide 80: A comparison: Discrete vs PBT on ETS364’s
Action Group time cost
Control APU Group (Vcc) 8mS
Control APU Group (Vee) 8mS
Control APU Group (Vcm) 16mS
Control APU Group (Vout) 16mS
Control Dpins ?
Control Cbits ?
Settling time ?
Control QMS Group 8mS
~60mS x discrete setups ( 11 )
Total “Setup” Time 660mS
Action Group time cost
Control APU Group (Vcc) 8mS
Control APU Group (Vee) 8mS
Control APU Group (Vcm) 16mS
Control SPU Group (Vout) 16mS
Control Dpins ?
Control Cbits ?
Settling time ?
Control QMS Group 8mS
~60mS x patterns (1-4)
Total “Setup” Time 60 - 240mS

## Slide 81: Future Work
Continue to refine the SW and analysis tools
Final Test implementation
Hardware improvements to support method
Expanding test coverage … Noise, Settling time, Drift?
Yazdi Contractor has done some outstanding work to provide standardized tools for PBT on the Eagle Test platform!!!

## Slide 82: Comparators

## Slide 83: Comparator Test
Similar to Op amps, if you can measure Vos, you are most of the way there on comparators… and there are many ways to do this.
Continuity
Quiescent Current
Vos
Psrr
Cmrr
Output Swing
Output current
Bias Current
Slew Rate aka rise time/ fall time
Propagation delay
Hysteresis
Most Comparators are not “stable” in a loop like an op amp.
No loop gain means precision Vos measurements need a different strategy.

## Slide 84: Vos / PSRR / CMRR
Synchronous
*May need to buffer
and or filter.
Attenuator reduces AWG error (drift, offset, lsb)
and potentially noise.

## Slide 85: Vos / PSRR / CMRR
Asynchronous
Just arm timer and run AWG

## Slide 86
V1
V2
Vin
Vos = (V1 + V2 ) /2
Vos = Vin(max) - (t2 – t1) /2 * dv/dt
t1
t2
or
Consider ramp speed and propagation delay vs test time!
ΔV = 2 x propagation delay*
Vos
ΔV
*Propagation delay of “system”

## Slide 87: Hysteresis
V1
V2
Hysteresis
Vin
A Vos measurement on a comparator with hysteresis requires a synchronous method or a one shot that is coupled to a sample and hold or triggers a measurement.

## Slide 88: Propagation delay
Limited by accuracy and or resolution of the timer / counter. ie QTMU accuracy is ~100pS with ~10pS resolution.
Trace lengths, attention to parasitics in layout become a big factor for fast prop times. Speed of the “fast edge” is also a factor. Many comparators have asymetric prop. delays
Compare to shunt to make measurement “delta”

## Slide 89: Propagation delay timing
PDH
PDL

## Slide 90: Propagation delay A cool circuit that might work… a ring oscillator
RC determines the oscillation frequency.
tPD = (time)/ Δcounts/2
shunt
tPD = Δtime/counts/2
or the time for fixed number of counts.
Can measure the number of counts for fixed time period

## Slide 91: TINA says “looks good”
Without Comparator in the loop:
Number of count (Nc): 2 ^ 8 (8-bit binary count)
Total Time (Tc): 40.99us
T1 (=Nc/Tc) 160.1ns (Calculated) 160.4ns (Measured)
With Comparator in the loop:
Number of count (Nc): 2 ^ 8 (8-bit binary count)
Total Time (Tc): 42.88us
T2 (=Nc/Tc) 167.5ns (Calculated) 170.8ns (Measured)
Prop Delay (T2 – T1)/2 = 3.7ns
Might be handy multisite testing where timing measurements need to be done serially!

## Slide 92
THE END
hiser_daryl@ti.com
Special Thanks:
Matt Picket and
Yazdi Contractor
For their work on PBT

## Slide 93
Questions?

## Slide 94
Needs
Our implementation of Pattern Based testing utilizes added functionality available only in the new ETS364 APU-12 resource. More AWGS and more DSP’s and digitizers.
Fortunately, APU-12’s are the roadmap for all new ETS systems purchased by TI.
Unfortunately, there are only two APU-12 systems available in TLAB for development. *
* 5 more systems have been approved but are in negotiation as to the final configurations. (sans MPU’s possibly)

## Slide 95: PSRR consideration for rail to rail amps
95
1.5V
-0.3V
3.35V
-2.15V
0.6V
0.6V
-0.6V
-0.6V
CMV1
CMV2
CMV2
CMV1
0V
0V